## Change Order
Project Name: |  |  | HPU Aalborg 2023 | [6 empty] | HPU Aalborg 2023 | [17 empty] | Prepared by: | Todor Chankov
Client: |  |  | Everllence | [24 empty] | Date: | 2026-08-31
ACS/Everllence Project No: |  |  | P230039 / H.7500062 | [6 empty] | Change order - Trafo interface and Sampling pumps cables | [17 empty] | Valid until: | 2026-09-28
[28 empty] | Revision: | 00
Item No. | Design Qty | Order Qty | Spare Qty | Unit | Packaging | Packaging Qty | Unit2 | Ordered Qty | Unit3 | SAP number | Description (EN) | Description (DE) | Dimension [mm] | Material | Weight [kg] | Clear description of content of a set and type designation | Price/pcs | Total Price | Country of origin | HS Code | Pos./TAG-No | Drawing No. | Shipping list | Revision number | Client Barcode | Original Equipment Manufacturer | Manufacturer Part No. | ACS barcode | Remarks
1 | 130 | 143 | 13 | meters | Drum | 1 | meters | 143 | Drum |  | N2XH-Flex – RXQ – TXXI - 0.6/1 kV 2G2.5mm² |  | 10.7 | Conductor: Copper Insulation: XLPE Sheath: Low Smoke Zero Halogen, black | 0.165 | Low vlotage flexible cable suitable for indoor and outdoor installation. Self-extinguishing and ﬂame retardant. UV and oil resistant. CPR - B2ca-s1a,d1,a1 | 0 | 0 | [7 empty] | Scancab | 31802002
2 | 52 | 100 | 48 | pcs | Package | 50 | pcs | 2 | Package |  | 2.5mm Single Cord End Terminal Crimp Bootlace Ferrule |  |  | Collar: Polypropylene Tube: Tin-plated Copper |  | Copper tube or ferrule, tin-plated, with a molded color-coded insulating collar made from polypropylene. | 0 | 0 | [7 empty] | GPH | 8591120075457
3 | 3.9 | 4 | 0.1 | meters | pcs | 1 | pcs | 4 | pcs |  | Heat-shrinkable tube - 28/8 |  |  | Material: Polyolefin (PEX) |  | Heat-shrinkable tube with inner diameter before/after heat-shrink - 28/8 mm | 0 | 0 | [7 empty] | GPH | 8591120166865
[17 empty] | TOTAL: | 0
Formulas:
Todor Chankov = [Todor Chankov, row above]+28